## SampleAttributesDS
VARNAME | VARDESC | DOCFILE | TYPE | UNITS | COMMENT1 | COMMENT2 | VALUES
SAMPID | Sample ID, GTEx Public Sample ID |  | string
SMATSSCR | Autolysis Score | PRC Case Summary Report | integer, encoded value |  | Autolysis | The destruction of organism cells or tissues by the organisms’ own enzymes or processes. | 0=None | 1=Mild | 2=Moderate | 3=Severe
SMNABTCH | Nucleic Acid Isolation Batch ID | LDACC | string |  | Generated at LDACC | Batch when DNA/RNA was isolated and extracted from a sample
SMNABTCHT | Type of nucleic acid isolation batch | LDACC | string |  | Generated at LDACC | The process by which DNA/RNA was isolated
SMNABTCHD | Date of nucleic acid isolation batch | LDACC | string |  | Generated at LDACC | The date on which DNA/RNA was isolated
SMGEBTCH | Genotype or Expression Batch ID | LDACC | string |  | Generated at LDACC | Batch when DNA/RNA from a sample was analyzed
SMGEBTCHD | Date of genotype or expression batch | LDACC | string |  | Generated at LDACC | The data on which DNA/RNA was analyzed
SMGEBTCHT | Type of genotype or expression batch | LDACC | string |  | Generated at LDACC | The technology used to analyze DNA/RNA
SMCENTER | Code for BSS collection site | LDACC | string |  | Coded site or center | Indicates the site that enrolled the donor, brain subregions may have more than one site | B1 | C1 | D1 | B1, A1 | C1, A1 | D1, A1
SMPTHNTS | Pathology Notes, notes from PRC Report | PRC Case Summary Report | string |  | Comments from pathological review | Any comments the pathologist filling out the PRC form wishes to make concerning the tissue quality.
SMRIN | RIN Number | LDACC | decimal |  | Generated at LDACC | The RNA Integrity Number, a basic measure of the quality of RNA isolated
SMTS | Tissue Type, area from which the tissue sample was taken. This is a parent value to SMTSD. | PRC Case Summary Report | string |  | Tissue Type | The type of Tissue that was collected | Adipose Tissue | Adrenal Gland | Bladder | Blood | Blood Vessel | Bone Marrow | Brain | Breast | Cervix Uteri | Colon | Esophagus | Fallopian Tube | Heart | Kidney | Liver | Lung | Muscle | Nerve | Ovary | Pancreas | Pituitary | Prostate | Skin | Spleen | Stomach | Testis | Thyroid | Uterus | Vagina
SMTSD | Tissue Type, more specific detail of tissue type | Tissue Recovery | string |  | Tissue Type | The type of Tissue that was collected on a Donor by Donor basis. | Adipose - Subcutaneous | Adipose - Visceral (Omentum) | Adrenal Gland | Artery - Aorta | Artery - Coronary | Artery - Tibial | Bladder | Brain - Amygdala | Brain - Anterior cingulate cortex (BA24) | Brain - Caudate (basal ganglia) | Brain - Cerebellar Hemisphere | Brain - Cerebellum | Brain - Cortex | Brain - Frontal Cortex (BA9) | Brain - Hippocampus | Brain - Hypothalamus | Brain - Nucleus accumbens (basal ganglia) | Brain - Putamen (basal ganglia) | Brain - Substantia nigra | Brain - Spinal cord (cervical c-1) | Brain - Substantia nigra | Breast - Mammary Tissue | Cervix - Ectocervix | Cervix - Endocervix | Colon - Transverse | Esophagus - Mucosa | Esophagus - Muscularis | Fallopian Tube | Heart - Atrial Appendage | Heart - Left Ventricle | Kidney - Cortex | Kidney - Medulla | Liver | Lung | Muscle - Skeletal | Nerve - Tibial | Ovary | Pancreas | Pituitary | Prostate | Skin - Not Sun Exposed (Suprapubic) | Skin - Sun Exposed (Lower leg) | Spleen | Stomach | Testis | Thyroid | Transformed fibroblasts | Uterus | Vagina | Whole Blood
SMUBRID | Uberon ID, anatomical location as described by the Uber Anatomy Ontology (UBERON) | LDACC | string |  | Generated at LDACC | ID as specified by the Uber Anatomy Ontology (UBERON), http://bioportal.bioontology.org/ontologies/UBERON
SMTSISCH | Total Ischemic time for a sample in 4 hour intervals | Tissue Recovery | integer | Hours | Sample Ischemic Time | Interval between actual death, presumed death, or cross clamp application and final tissue stabilization, NOTE: some blood samples are collecter prior to the donor's death, this is indicated by negative ischemic times
SMTSPAX | Time a sample spent in the PAXgene fixative | Tissue Recovery | integer | Minutes | PAXgene Fixative Time | Total time a sample spent in the PAXgene fixative
SMTSTPTREF | Time point reference for Start and End times of sample procurement | Tissue Recovery | string |  | Time point reference for Start and End times of sample procurement | Indicates whether the sample ischemic time begins at the donor's actual death, presumed death, or when the cross clamp was applied in the case of surgical donors | Actual Death | Presumed Death | Cross Clamp Applied
SMAFRZE | Samples included in the GTEx Analysis Freeze | LDACC | string |  | Generated at LDACC | These samples have been identified as those best suited for use in analysis with a specific focus on eQTL analysis. | USE ME
SMGTC | Name of the genotype gtc file | LDACC | string |  | Generated at LDACC | This field provides a link to the genotype gtc file generated at the LDACC.
SME2MPRT | End 2 Mapping Rate: the number of End 2 mapped reads divided by the total number of End 1 reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMCHMPRS | Chimeric Pairs: Pairs whose mates map to different genes | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNTRART | Intragenic Rate: The fraction of reads that map within genes (within introns or exons) | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNUMGPS | Number of Gaps: Number of regions with ≥5 bases with zero coverage | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMAPRT | Mapping Rate: Ratio of total mapped reads to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMEXNCRT | Exonic Rate: The fraction of reads that map within exons | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SM550NRM | 5' 50-based normalization: 50 (this number is the value for the transcript end length parameter) refers to the definition of how many bases are considered at the end; this value is the ratio between the coverage at the 5' end and the average coverage of the full transcript, averaged over all transcripts; | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMGNSDTC | Genes Detected: Total number of genes with at least 5 exon mapping reads. | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMUNMPRT | Unique Rate of Mapped: Unique reads divided by all mapped reads. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SM350NRM | 3' 50-base normalization: the ratio between the coverage at the 3' end and the average coverage of the full transcript, averaged over all transcripts | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRDLGTH | Read Length: maximum detected read length found. | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMNCPB | Mean Coverage Per Base: Coverage is averaged per base across each transcript, and averaged again across all transcripts. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME1MMRT | End 1 Mismatch Rate: The number of End 1 bases not matching the reference divided by the total number of End 1 bases. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMSFLGTH | Fragment Length StdDev: The fragment length is the distance between the start of an upstream read and the end of the downstream pair mate | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMESTLBS | Estimated library size: Number of expected fragments based on the total reads and duplication rate assuming a Poisson distribution. | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMPPD | Mapped: Total number of reads aligned/mapped | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNTERRT | Intergenic Rate: The fraction of reads that map to the genomic space between genes | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRRNANM | rRNA: Number of all reads (duplicate and non-duplicate) aligning to ribosomal RNA regions | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRDTTL | Total: Total reads (filtered to exclude reads with vendor fail or alternative alignment flags) | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMVQCFL | Failed Vendor QC Check: reads having been designated as failed by the sequencer | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMNCV | mean coefficient of variation: standard deviation in base coverage divided by mean coverage | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMTRSCPT | Transcripts Detected: Total number of transcripts with at least 5 exon mapping reads | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMPPDPR | Mapped Pairs:Total number of pairs for which both ends map | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMCGLGTH | Cumulative Gap Length: Cumulative length of gap regions | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMGAPPCT | Gap Percentage: The total cumulative gap length divided by the total cumulative transcript lengths | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMUNPDRD | Unpaired Reads: number of reads lacking a pair mate | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNTRNRT | Intronic Rate: The fraction of reads that map within introns | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMPUNRT | Mapped Unique Rate of Total: Ratio of mapping of reads that were aligned and were not duplicates to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMEXPEFF | Expression Profiling Efficiency: Ratio of exon reads to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMPPDUN | Mapped Unique: Number of reads that were aligned and did not have duplicate flags | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME2MMRT | End 2 Mismatch Rate: The number of End 2 bases not matching the reference divided by the total number of End 2 bases. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME2ANTI | End 2 Antisense: Number of reads that were sequenced in the antisense direction | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMALTALG | Alternative Aligments: duplicate read entries providing alternative coordinates | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME2SNSE | End 2 Sense: Number of End 2 reads that were sequenced in the sense direction | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMFLGTH | Fragment Length Mean: The fragment length is the distance between the start of an upstream read and the end of the downstream pair mate | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMSPLTRD | Split Reads: The number of reads that span an exon-exon boundary | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME1ANTI | End 1 Antisense: Number of End 1 reads that were sequenced in the antisense direction | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMBSMMRT | Base Mismatch Rate: Number of bases not matching the reference divided by the total number of bases aligned. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME1SNSE | End 1 Sense: Number of End 1 reads that were sequenced in the sense direction | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME1PCTS | End 1 % Sense: Percentage of intragenic End 1 reads that were sequenced in the sense direction | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRRNART | rRNA Rate: Ratio of all reads aligned to rRNA regions to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME1MPRT | End 1 Mapping Rate: the number of End 1 mapped reads divided by the total number of End 1 reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNUM5CD | Number Covered 5': The number of transcripts that have at least one read in their 5' end | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMDPMPRT | Duplication Rate of Mapped: Duplicate reads divided by total mapped reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SME2PCTS | End 2 % Sense: Percentage of intragenic End 2 reads that were sequenced in the sense direction | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf

## Sheet2
VARNAME | VARDESC | DOCFILE | TYPE | UNITS | COMMENT1 | COMMENT2 | VALUES
SAMPID | Sample ID, GTEx Public Sample ID |  | string
SMRIN | RIN Number | LDACC | decimal |  | Generated at LDACC | The RNA Integrity Number, A basic measure of the quality of RNA isolated
SMTS | Tissue Type, area from which the tissue sample was taken. This is a parent value to SMTSD. | PRC Case Summary Report | string |  | Tissue Type | The type of Tissue that was collected | Adipose Tissue | Adrenal Gland | Bladder | Blood | Blood Vessel | Bone Marrow | Brain | Breast | Cervix Uteri | Colon | Esophagus | Fallopian Tube | Heart | Kidney | Liver | Lung | Muscle | Nerve | Ovary | Pancreas | Pituitary | Prostate | Skin | Spleen | Stomach | Testis | Thyroid | Uterus | Vagina
SMTSD | Tissue Type, more specific detail of tissue type | Tissue Recovery | string |  | Tissue Type | The type of Tissue that was collected on a Donor by Donor basis. | Adipose - Subcutaneous | Adipose - Visceral (Omentum) | Adrenal Gland | Artery - Aorta | Artery - Coronary | Artery - Tibial | Bladder | Brain - Amygdala | Brain - Anterior cingulate cortex (BA24) | Brain - Caudate (basal ganglia) | Brain - Cerebellar Hemisphere | Brain - Cerebellum | Brain - Cortex | Brain - Frontal Cortex (BA9) | Brain - Hippocampus | Brain - Hypothalamus | Brain - Nucleus accumbens (basal ganglia) | Brain - Putamen (basal ganglia) | Brain - Substantia nigra | Brain - Spinal cord (cervical c-1) | Brain - Substantia nigra | Breast - Mammary Tissue | Cervix - Ectocervix | Cervix - Endocervix | Colon - Transverse | Esophagus - Mucosa | Esophagus - Muscularis | Fallopian Tube | Heart - Atrial Appendage | Heart - Left Ventricle | Kidney - Cortex | Kidney - Medulla | Liver | Lung | Muscle - Skeletal | Nerve - Tibial | Ovary | Pancreas | Pituitary | Prostate | Skin - Not Sun Exposed (Suprapubic) | Skin - Sun Exposed (Lower leg) | Spleen | Stomach | Testis | Thyroid | Transformed fibroblasts | Uterus | Vagina | Whole Blood
SMNTRART | Intragenic Rate: The fraction of reads that map within genes (within introns or exons) | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMAPRT | Mapping Rate: Ratio of total mapped reads to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMEXNCRT | Exonic Rate: The fraction of reads that map within exons | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMGNSDTC | Genes Detected: Total number of genes with at least 5 exon mapping reads. | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMNCPB | Mean Coverage Per Base: Coverage is averaged per base across each transcript, And averaged again across all transcripts. | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMESTLBS | Estimated library size: Number of expected fragments Based on the total reads and duplication rate assuming a Poisson distribution. | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMMPPD | Mapped: Total number of reads aligned/mapped | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMNTERRT | Intergenic Rate: The fraction of reads that map to the genomic space between genes | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRRNANM | rRNA: Number of all reads (duplicate and non-duplicate) aligning to ribosomal RNA regions | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRDTTL | Total: Total reads (filtered to exclude reads with vendor fail or alternative alignment flags) | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMVQCFL | Failed Vendor QC Check: reads having been designated as failed by the sequencer | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMTRSCPT | Transcripts Detected: Total number of transcripts with at least 5 exon mapping reads | LDACC | integer |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMEXPEFF | Expression Profiling Efficiency: Ratio of exon reads to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf
SMRRNART | rRNA Rate: Ratio of all reads aligned to rRNA regions to total reads | LDACC | decimal |  | Generated at LDACC | Output of the RNA-seQC GenePattern module: www.broadinstitute.org/cancer/cga/tools/rnaseqc/RNA-SeQC_Help_v1.1.2.pdf